## Slide 1: Data Analysis
Frequency Response

## Slide 2: Frequency Response: Definitions Monthly Snapshot Capacity Impact
Agenda

## Slide 3: Frequency Response – Definitions
Dead band (yellow highlighted area):
59.964 Hz < f < 60.036 Hz
Frequency Response: occurs when frequency falls outside of the dead band
Response: frequency base response (active control) required to bring frequency response back to within dead band
Frequency Events
# of events*
*meter reading data - sample from May ‘22
frequency

## Slide 4: Frequency Response – Monthly Snapshot
Chart: 
| Unique events
Freq < 59.964Hz | 5251
Freq > 60.036Hz | 273
Duration and # of unique events:
Duration (seconds)
Chart: 
| Unique events
Freq < 59.964Hz | 4079
Freq > 60.036Hz | 218
2022 - May
2022 - June

## Slide 5: Frequency Response – Capacity impact
2022 - May
2022 - June
Frequency Base Response (MW)
# of events
Freq. Event Statistics | Duration (sec)
Median | 4
Mean | 10
Max | 508
Min | 2
Freq. Event Statistics | % Nominal Power
Median | 13.25
Mean | 20.33
Mode | 2.02
Min | 0.48
% of Total capacity impacted by PFR:
0.3%
Freq. Event Statistics | % Nominal Power
Median | 12.00
Mean | 18.48
Mode | 2.02
Min | 0.47
Freq. Event Statistics | Duration (sec)
Median | 4
Mean | 10
Max | 534
Min | 2
Frequency Base Response (MW)
% of Total capacity impacted by PFR:
0.445%
# of events

## Slide 6
Thank You